## Slide 1: How reliable are RES- New storage possibilities
Radka Fabianova
Gerold Muggenhumer

## Slide 2: Content
Introduction of RES
  Potential of irradiation
  Consumption x Production
  Austrian x Czech Legislation
A comparison of storage systems
Installation model – An island house
Notes: Radka

## Slide 3: RES - Photovoltaic
    Potential of irradiation in Czech Republic and Austria

## Slide 4: RES - Photovoltaic
Consumption x Production

## Slide 5: Austrian legislation
Nationally within the scope of the „Elektrizitätswirtschafts- und Organisationsgesetz (EIWOG)
    Regulates the construction
    Announcement
    Application for permit
Ökostromgesetz
  8 mill. Euros for 2012
  Reside with the respective states
Styrian model

## Slide 6: Austrian legislation -Requirements for funding
PV- installation has to suffice § 7 Ökostromgesetz 2012
Installation from a permitted expert company
Assignment of a expert company before application for permit
Only on-grid PV-systems
More than 50% of the building must belong to private use
Latest technique
Only one application per person
Application for permit before delivery of the PV- system

## Slide 7: Styrian PV-funding
Photovoltaic systems up to 5 kWp
Photovoltaic systems greater than 5 kWp

## Slide 8: Styrian funding- model: PV- system up to 5 kWp
Number of accomodation unit | conveyable power in kWp | Funding amount in Euro | 
 |  | funding without KLIEN | funding with KLIEN
 |  | total | total
Rebuilding or expansion of PV-systems up to 2 accomodation units | 2 extended | 500,- | 375,-
 | 2 new | 750,- | 562,5
 | 2,5 extended | 625,- | 468,75
 | 2,5 new | 875,- | 656,25
 | 3 | 1.000,- | 750,-
 | 3,5 | 1.125,- | 843,75
 | 4 | 1.250,- | 937,5
 | 4,5 | 1.375,- | 1.031,25
 | 5 | max 1.500,- | max 1.125,-
Rebuilding or expansion of buildings from 3 accomodation units | 2 | 750,- | KLIEN only from 2 to 5 kWp!
 | per extended 0,5 kWp | 125,- | 
 | max. 15 | 4.000,- | 
surcharges |  |  | 
Rebuilding | additional basic amount | 500,- | 375,-

## Slide 9: Styrian funding- model: PV- system >5 kWp
Subsided with a continuously feed-in tarif for 13 years

## Slide 10: Czech Legislation
for off-grid installation you do not need any permission
for on-grid installation you need several permits
  apply for the connection to the local distribution system
  a license by the Energy Regulatory Office
  if an installed capacity exceeds 20 kWp another prerequisite is the assumption of competence

## Slide 11: Czech Legislation
If the excess energy supplied to the network, its purchase price is favored
Two types of benefits
  Green bonus
  Guaranteed purchase price

## Slide 12: Energy storage systems
Energy storage system techniques can be classified as follows:
According to the type of application: permanent or portable
Storage duration: short or long term
Type of producion: maximum power needed

## Slide 13: Energy storage systems

## Slide 14: Energy storage systems -Lithium-Ion batteries
Advantages compared to predecessor technologies:
high lifetime up to 20 years without maintenance
discharge depth up to 100%
high energy density (less weight, less volume)
Source: Conergy Energiespeicher- Strom bei Tag und bei Nacht, Varta- Development of the battery

## Slide 15: Energy storage systems -Compressed air energy system
Source: Villela D. et. al (2010)

## Slide 16: Energy storage systems -Compressed air energy system
Large- scale CAES: Huntdorf (D)
  Compressed air storage/ gas turbine power station
  Efficiency is about 60%
  High energy density
Small-scale: especially for residentail PV-systems
Source: Crotogino F. (2001)
Notes: 1: compressor train
2: motor-generator unit
3: gas turbine
4: underground compressed air storage

## Slide 17: Energy storage systems SS- CAES
Compressor characteristics:
Single-stage
Displacement-based
Piston-driven
Small-scale
Low-cost
Rpm= 10-60
Efficiency up to 70%
Source: Villela D. et. al (2010)

## Slide 18: Installation model -An island house
The electricity production from panels cover a three-member household consumption
The size of the system
  should be set to at least to the 90% of consumption in the winter but not higher
Special requirements for appliances
  install the most possible saving appliances
  replace electricity wherever it generates heat

## Slide 19: Example of a reliable off-grid electricity system with Lithium-Ion batteries
15 LED lights with 18W each and operation time of 4hours
TV with 60W and an operation time of 3 hours
Computer with 60W and an operation time of 4 hours
Fridge with 0,0026 kWh*
Washing machine 0,40 kWh (every second day, else 0,8 kWh)**
* Miele K 9252i-1 (152 l)
** Miele W 1904 Eco Active

## Slide 20: Calculation of the required battery capacity

## Slide 21: Calculation of the required battery capacity
1,91 kWh x 5 days = 9,55 kWh
9,55 kWh : 0,7 = 13,65 kWh
13,65 kWh : 24V = 569 Ah

## Slide 22: Result
8 Lithium- Ion batteries a 75 Ah, 24 Volt
4 batteries parallel connected
These each 4 parallel connected batteries finally switched in series
 600 Ah, 24 Volt

## Slide 23: Thank you for your attention!